Interference of Light from Two Slits

REFERENCES

Young and Freedman: University Physics (12th Ed.), Sec. 35.1 to 35.4

Knight, Physics, Sec. 21-1 to 21-8, and 22-1 to 22-4

Clegg, Light Years, pp. 136-138

INTRODUCTION

In this experiment, you will be investigating optical interference generated by light passing through two slits.

L

y



d

Screen

Light

dsin()



Figure 1	Geometry for the double slit interference

When light from the same source is directed onto a pair of narrow slits, spaced apart by a small distance d, it is diffracted as it passes through each slit. The two slits act like miniature light sources that are in phase with one another. The light emerges from these slits and, after traveling a long distance L, reaches a screen where it is detected.

For some positions on the screen, the light from both slits will arrive in phase – that is, the crest of the electric field from one slit arrives at the same time as the crest from the other slit. At these positions, the electric fields add together, and the intensity appears bright.

For other positions on the screen, the light from one slit will arrive out of phase with the light from the other slit – that is, the electric field crest from one slit will arrive on top of the trough from the other slit. At these positions, the electric fields cancel each other out, and there is no light intensity at all.

The repeating patterns of bright and dark lines on the screen are called interference fringes. They were discovered in 1800 by Thomas Young, and provided undeniable evidence for the wave nature of light, at a time when Newton’s particle theory was widely accepted.

From the figure, we can predict where the bright and dark fringes will appear at the screen. A bright fringe will occur where the light from one slit has traveled the same distance as the light from the other slit, or where the difference between these paths is a whole number of wavelengths. If the screen is far away from the slits, so that the two paths are nearly parallel, then the difference in path lengths as shown in the figure is:

And so, a bright fringe will appear whenever

,

where m is any integer, and  is the wavelength of the light. Noting from the figure that  (for very long L, so that the two rays are nearly parallel), we see that bright fringes will appear at the positions  that satisfy:

.

EQUIPMENT

Helium-neon laser in aluminum housing

Diode laser

Collimator assembly

Slide with four different pairs of double slits

Rotary motion sensor with a photodetector mounted on a toothed bar along with a sensitivity box with four settings, for the detector.

Vernier interface

Laptop computer with Logger Pro v3.3

Meter sticks, rulers, etc.

PROCEDURE

The department has provided a template for you to work with for this experiment. Please download this template before coming to the lab. This template allows for convenient sensor setup and data acquisition.

In order to download the file go to My Computer and double click on the (G:) drive. This directory is also called class on ‘afs\rose-hulman.edu’ (please note that you may have to obtain the necessary AFS ticket before accessing this drive). Double click the class folder and scroll down to the phoe folder. Within this folder double click the PH113 Lab folder and in there you will find a Vernier file titled “laser_intereference.cmbl”. Please copy this file to a convenient location.

You are now ready to use this template.

- Power the Logger Pro and make the required connection to your computer using the USB cable.

- Plug the photodetector cable into the CH1 port on the Vernier interface.  There should be an adapter on the end of the cord coming from the detector that should fit into the Vernier port.

- Plug the rotary motion sensor into the DIG/SONIC1 port on the Vernier interface.

- Now bring up the file (template) that you downloaded earlier.

- Verify that the sensors are being read by the Lab Pro interface. To do this left click on the Experiment button at the top of the window.  In the pull down menu, left click on the “Set Up Sensors” and then on “Show All Interfaces”.  Make sure “Raw Voltage (0-5V)” for CH1 and “Rotary Motion” for DIG/SONIC1 are the selected sensors.  If this is not the case, ask your instructor for help.

- Familiarize yourself with the windows that are part of the template. There is a data table window and a meter window that gives you the readout for the photodetector. In addition, there are two graph windows. One shows “Potential (V)” vs. “Corrected position (mm)” and the other shows “Corrected position (mm)” vs. “time (s)”.

At this stage you are ready to collect data. Please note that like all optics experiments, this experiment requires a great deal of precision and alignment. Setting up the experiment and getting good useful data will take time and will require you to adjust various elements on the optical bench.

- Plug in the helium-neon laser (the one in the aluminum housing).  Make sure that the laser is not pointed at anyone when you plug it in.  The laser should be pointed toward the wall at the other end of your lab table.

- Place the collimator near the laser housing (it may already be done)and adjust the laser pointing screws (on top of the housing) until the beam travels parallel to the table top.

- Make sure that the laser, the collimator, and the photodetector are all in the same line and have the same height.

- Place the slide containing the two slits in the beam path.  There is more than one pair of slits etched into the slide: start out with the ones that are closest together. You should see a fringe pattern on the wall. Experiment by moving and tilting the slits, the lens, and even the laser. Try to adjust them for maximum brightness and sharpness of the fringes. The tilt of the slits is also important: try to get the slide containing the slits to be perpendicular to the laser beam. Tilt the slide so the fringe pattern on the wall matches the movement of the photo-detector.

- Adjust the sensitivity control higher or lower to see if you can get a better interference pattern. Similarly see if small changes in the detector height can result in a better pattern. If everything is optimized then you should be able to see seven or more distinct peaks in your pattern.

- At the far wall, slide the detector all the way to the housing of the rotary motion sensor housing, “zero” the position by clicking the zero icon (do not zero the voltage sensor), then click “Collect” and take the data of voltage vs. position.  Save the data for later analysis. Please make sure that you collect data for long enough (10s to 15 s) and that you have a high enough data acquisition frequency (100 to 200 points per second).

- Make sure you show the first data set to your instructor.

- Measure L, the distance from the plane of the slits to the front of the detector.

- Now carefully move the slide over, to use the pair of slits that are farther apart. You should see a different fringe pattern on the wall. These fringes may be more difficult to see; turning out the room lights will help. Again, play with the slits and adjust them to get the brightest and sharpest fringe pattern.

- Check the alignment of the photodetector relative to the fringe pattern, as in step 10.  As before, make sure the fringes are vertically centered on the photodetector.

- Slide the detector all the way to the housing of the rotary motion sensor housing, “Zero” it, click “Collect” and take a new record of voltage vs. position.  Save this second data set for later analysis. It should look something like figure 2.

- For this data set, measure L also.

- Unplug the helium-neon laser and move the diode laser into the position that was previously occupied by the helium-neon laser.  Your instructor may want you to replace the collimator with a polarizer to adjust the intensity. Adjust the height of the diode laser such that it is as close as possible to the height of the helium-neon laser.

- Take intensity data for the two pairs of slits using the diode laser (repeat steps 10 though 19).

- Unplug the lasers.

Figure 2	An example of the laser interference pattern

Analysis

- For each pair of slits (close and wide), and for each laser (HeNe and diode), calculate the average fringe spacing from your intensity data. Report this average, along with the standard deviation of the mean (standard error). Please note that while getting positions out of your data, it is highly recommended that you expand out that position axis so you can read the position for a given peak more clearly. Also, you may find the position pointer tool useful.

- For each pair of slits, calculate d, the distance between the slits. The wavelength of the helium-neon laser is 632.80  0.01 nm. Estimate the uncertainty in d, by propagating the uncertainties in the fringe spacing, the laser wavelength, and the distance L.

- You are now able to calculate the wavelength of the light emitted by the diode laser. Do this twice, using each set of fringe data from the diode laser.  Do your calculated values agree with each other, within uncertainty? Do they fall within the range listed on the diode laser of 670 to 675 nm?