PH 404 Decibels, sensitivity, and all that.		1/20/04    MJM

Raichel, p. 48, sect 3.11 defines the dB in terms of pressure.  First he reminds us about the rms (root-mean-square

prms = [  p2 dt / dt ]

All the pressures we deal with are sinusoidal, so for a pressure p = A exp(it),

prms = A/2 = pmax /2 .

That is, the rms pressure is 0.707 of the maximum pressure.  [ The 115 v listed for house current is an rms value

Vrms = 115 v = Vpeak/2 .

This makes the peak voltage in your house about 163 v.

The definition of dB comes with

Lp  = 10 log10 (p/po)2  = 20 log10 (p/po),

where po = 20 Pa.  Lp is often called the ‘sound power level’ (SPL), so I think we could write

SPL = 10 log10 (p/po)2  = 20 log10 (p/po).

In physics books you can find the definition in terms of intensity:

dB = 10 log10 (I/Io),

where Io = 10-12 watts/m2 .

We have written the intensity of a plane sound wave before:

I = ½ Re (pu*) = A2/(2c) ,

where A is the pressure amplitude. Writing this in terms of the rms pressure amplitude we have

I = prms2/c.

When we put po in this equation, and  and c for air, we should get 10-12 w/m2 :

Io = po rms2 /c = (2 x 10-5 Pa)2/(1.2 kg/m3)/343 m/s) = 10-12 w/m2 .

Now we want to first deal with microphone sensitivity on p. 170, then  come back to adding and subtracting noise levels in chapter 3.

Raichel’s 9.1, if it were written more clearly, would say

Ls =  20 log10([Vout/p]/[1V/bar]) = 10 log10([Vout/p]2/[1V/bar]2).

This is trying to tell us that 1V/bar is a larger sensitivity than any microphone has, so the actual mike sensitivity in the numerator will be less than 1V/bar, and Ls will be a negative number.  Raichel goes on to to point out that -50 dB V/bar is about as good as mike sensitivities get, and they may go down to -125 dB.

1 bar is 1 atmosphere, and there are 105 Pa at one atmosphere, so 1 bar = 0.1 Pa.

What is the sensitivity of a mike of -50 dB ?

-50 = 20 log10 ([Vout/p]/[1V/bar])

10-2.5 = [Vout/p]/[1V/bar],   and

Vout/p = 3.2 x 10-3 V/bar = 3.2 mV/bar.

This is what Raichel says at the bottom of p. 170.

[ The tie-clip mikes that I use in my lab ($25 from Radio Shack) are listed at -74 dB. ]

a) Find the sensitivity of the tie-clip mike in V/bar. { 200 V/bar }

b) Determine the voltage output from a signal whose amplitude is 0.05 Pa.   { 100 V }

(more on next page)

Now on to adding sound levels. The sounds we are talking about are all incoherent. That is, they are all at different frequencies. [ Two waves are coherent if they stay in some constant phase relationship. To do this, they must be at the same frequency.]

In acoustics, just like in optics, when we deal with incoherent waves, the combined intensity is the sum of the individual intensities:

incoherent waves:	add intensities to get total intensity

For coherent waves (same frequency) we must first add the amplitudes to get an overall amplitude, then use the square of that combined amplitude to get the total intensity.

The intensity of a sound wave is proportional to the square of the pressure, as we saw on the first page of this handout.

If a band saw and a lathe together give an SPL of 100 dB, and the SPL of the lathe by itself is 91 dB, what is the SPL  (Lp) of the band saw by itself?

100 dB = 10 log10 [(pbs/po)2 + (plathe/po)2 ],  and

91 dB = 10 log10 [(pbs/po)2].

Solving the bottom one gives  (pbs/po)2  = 109.1 = 1.26 x 109 .

Solving the top one gives  (pbs/po)2 + (plathe/po)2 = 1.0 x 1010.  This leads to

(plathe/po)2 = 1010 - 1.26 x 109  = 8.74 x 109 =>   SPLlathe = Lp lathe = 99.4 dB.

You can see this is not a linear relation!

[Raichel has a compact way of writing the solution to these problems, but I have trouble following it.]

You should go through Raichel’s example problem 4 on p. 51.

For averaging sound levels, keep in mind that you want to average the p2 values. The square of the pressure.

He gives an example on p. 57 for averaging several dB measurements. Effectively, you average the p2 values, then convert back to dB.

Try averaging 91dB,  93 dB, and 95 dB.  See if you get 9.33.

PH 404 Worksheet  January 21, 2004		MJM		Name ___________________ Box______

1. Find the output of a microphone whose sensitivity is -100 dB V/bar when presented with a pressure of 1.7 Pa.

2. The background level in a shop is 75 dB with no machines running, and is 83 db when a jigsaw is on. Find the noise level of just the jigsaw itself.

3. A class bell in a hallway at an up-and-coming school somewhere in the midwest registers 106 dB for 4.0 seconds. Without the bell, during the minute the bell goes off, the background level in that hallway is 82 dB while the students are hurrying to and fro. What is the average dB level during that one minute? [Hint: consider 15 samples of 4 sec each, one of which has the bell on, and all of which have 82 dB from the students.]