ECE 370

HW SET #3

- A half-wave diode rectifier has a supply voltage of 120 V, 60 Hz, and a load resistance of 10 Ω. Calculate:

  - Vdc

  - Idc

  - Vrms

  - Irms

  - Peak inverse (blocking) voltage of the diode

  - Ripple factor r

  - Source apparent power

  - Load real power

- A full-wave diode bridge rectifier has a supply voltage of 120 V, 60 Hz, and a load resistance of 10 Ω. Calculate:

  - Vdc

  - Idc

  - Vrms

  - Irms

  - Peak inverse (blocking) voltage of the diode

  - Ripple factor r

  - Source apparent power

  - Load real power