Laboratory Project 2

Location

Laboratory, B-105

Equipment

Tektronix TM506 Equipment Rack

with DM501A Digital Multimeter,

PS501-1 Power Supply, PS503A Dual Power Supply, DC504A Counter-Timer, and FG501A Function Generator.

Tektronix 2235 Oscilloscope.

Lead box containing leads and alligator clips.

BNC-to-BNC and BNC-to-pins cables.

Breadboard.

TL072 dual op-amp.

0.1 F capacitor.

1.5 k and 3.3 k 1/4 W resistors.

Purpose

This lab project has three objectives:  enhance your knowledge of operational-amplifier circuits, measure some characteristics of op-amp circuits, and keep a notebook record of your work including an appropriate graph of results.

Prelab

1.	Calculate the DC gain of the op-amp circuit shown in Fig. 1.

2.	Calculate the magnitude and the phase angle of the gain of the op-amp circuit at 100 Hz, 1 kHz, and 10 kHz.  (Don’t forget to use 2 properly!)

Procedure

1.	DC Characteristics of the Op-Amp Circuit

The goal of this part is to measure some characteristics of an op-amp circuit using a DC input.  We can make all of the measurements using the digital multimeter.

1.1	Build the circuit of Fig. 1.  The pinout of the TL072 is shown in Fig. 2.

1.2	Supply power to the TL072 op-amp using the PS503A Dual Power Supply.  Don’t trust the dial markings of the power supply - verify the correct voltages using the digital multimeter.  Note that the black terminal must be the common ground of the input signal, the + input of the op-amp, and the output signal.

1.3	Measure the gain of your circuit at VIN = 1 V, 5 V, and 10 V.  Note what happens at 10 V.

1.4	With VIN = 1 V, measure the voltage between the + and the - terminals of the op-amp as carefully as you can.

+

-

+

vIN

PS503A

Dual Power Supply

3.3 k

1.5 k

vOUT

+

-

15 V

15 V

+

+

0.1 F

Red

Green

Black

1

2

3

4

8

Figure 1:  The Inverting Amplifier

Out 1

In 2-

1

2

3

4

5

6

7

8

In 1-

In 1+

VCC-

VCC+

Out 2

In 2+

Top View

Figure 2:  Pinout for the TL072 Op-Amp

2.	AC Gain of the Op-Amp Circuit

The goal of this part of the lab is to measure the gain of the op-amp circuit as a function of frequency and create a plot of this gain versus the log (base 10) of the frequency.

2.1	Use the DMM and the DC504A Counter/Timer to set the FG501A Function Generator to provide a 20 Hz sinusoidal signal of 1.0 volts peak amplitude (that is, 0.707 V RMS).  Connect this signal to channel 1 of the scope.  Obtain a focused and stable display of about two cycles duration on the screen.  Be sure the signal has a 1.0 V peak amplitude.

2.2	Apply this signal to the input of your op-amp circuit.

2.3	Apply the output signal from your op-amp to channel 2 of the scope.

2.4	Check to make sure the input is still 1.0 V peak.  Then record the output voltage.

2.5	Now increase the frequency in appropriate steps until you have enough data to plot the gain of the op-amp versus frequency from 20 Hz to 20 kHz.  Check the input waveform each time to make sure it is staying at 1.0 V peak.  Since you are using a logarithmic scale for frequency, linearly spaced steps make little sense and much work.  Consider using steps like 20, 40, 70, 100, 200, 400, 700, 1000, 2000, etc.  These are space at rough equal intervals on the log axis of the graph.

2.6	Record your data in a table in your lab notebook and plot the points as you go along.  This way you can see where one piece of data might be wrong or where you might need to choose more closely spaced frequencies.

2.7	If you use Excel to plot your data, your graph must conform to good practice.  Excel does not normally plot graphs that fit this requirement.  Here are some tips:

- The graph must have a reasonable number of grid lines, enough so that a reader could look at a point on the curve and determine its gain and frequency.

- The horizontal axis must be a logarithmic axis.

- The vertical axis must be a linear axis with intelligent divisions.  Steps of 1, 2, and 5 are intelligent and intelligible; steps such as 3, 4, and 7 are very hard to read.

- The vertical axis must not have its zero point suppressed.

- Axes ust be labeled with sensible numbers, the name of the variable, and the units.

- A smooth curve must join the points reasonably well.

- Clearly “bad” points should be excluded from the curve.

- The graph should have a title that tells what is being presented.

- Remember, Excel was written by accounting types, who create notoriously poor graphs!

3.	Phase Angle of the Gain of the Op-Amp Circuit

Here we will use the scope to determine the phase angle of the gain of the op-amp circuit at three frequencies.  We will intentionally ignore the fact that the circuit inverts the signal and therefore ignore the minus sign associated with the gain.  In other words, if you have a choice of reporting the phase angle as 210 or 30, go for 30.

3.1	Use the same set-up as you had in the previous part.  The input signal should continue to be 1.0 V peak.

3.1	Measure and record the phase angle of the output versus the input at 100 Hz, 1 kHz, and 10 kHz.

Report

Complete the work in your lab notebook.  Have your instructor check your results before you leave the lab.  You should show what your graph looks like at that time.

One lab notebook from each group will be collected for grading at the end of the lab period.  Be sure that the notebook conforms to the format specified in the SEC Guidelines and Standards for Writing Assignments and in the handout The Lab Notebook.  The group will share the lab notebook grade.  Make sure that the notebook you turn in contains at least the following:

- a complete drawing of the op-amp circuit with all signals, components, and pins labeled.

- a tabulation of the DC gain, the predicted gain, and the error.

- a graph of the gain versus frequency.

- a tabulation of the gain and the phase angles and the predicted values.

Your notebook is not going to be graded on the number of words it contains!  Your schematic diagram, tables, and graphs tell a lot of the story.  Clarity, brevity, and completeness are going to count.

Acknowledgement

This lab project is a combination of several projects developed by Professor Wm. J. Eccles.