Name: 			  CM Box: ___________

Circle your section:

Lui – 01		Lui – 02		Mech – 07

ES 202

Fluid & Thermal Systems

Examination III

February 12, 2007

| Problem | Score |
| --- | --- |
| 1 | / 50 |
| 2 | / 25 |
| 3 | / 25 |
| Total | /100 |

Clearly show all work for credit.

Open TABLE ONLY

One side of an 8.5” x 11” equation sheet is allowed.

Laptops allowed

No EES allowed

Please hand in your equation sheet with your exam.

Density of water at standard conditions is assumed to be 1000 kg/m3 in this exam.

Problem 1  (50 points)

- Complete the table of thermodynamic property information shown below for Water.  Skip the shaded boxes.  You are encouraged to use the blank space on this page and the next as work space.

Numerical answers should be provided with an accuracy of at least 4-significant figures. (Round-off can get you in trouble!)

Please use the following abbreviations as required:

| CL = compressed (subcooled) liquid SL = saturated liquid SM = saturated two-phase mixture SV = saturated vapor SHV = superheated vapor | NA = not applicable INSUF = insufficient information |
| --- | --- |

| State | Pressure P (MPa) | Temperature T (oC) | Quality, x | Specific Volume υ (m3/kg) | Specific Enthalpy h (kJ/kg) | Phase |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  | 250 |  |  |  | SV |
| 2 |  | 250 | 0.70 |  |  |  |
| 3 | 3.0 | 250 |  |  |  |  |
| 4 | 3.0 |  |  | 0.02500 |  |  |
| 5 | 3.0 | 100 |  |  |  |  |
| 6 | 3.0 |  |  |  | 5000 |  |

State 1:

State 2:

State 3:

State 4:

State 5:

State 6:

- On the following P-v diagram and T-v diagram,

  - Carefully sketch the 3.0 MPa isobar and the 250 oC isotherm on both diagrams.

  - Carefully locate all six states (1-6) from Problem 1 (a).  Take care to correctly locate the states relative to the saturation curves and the appropriate isotherm and isobar.

υ

P

3.0 MPa

T

υ

250 oC

Problem 2  (25 points)

Saturated Refrigerant-134A with a quality of 30% is throttled through a valve from 400 kPa to 100 kPa.

1

2

- Determine the quality at the valve exit.

- Determine the entropy generation per unit mass flow across the valve, in J/kg-K.

Clearly show all your work and logic for FULL credit!  Do NOT just substitute numbers into a special form of any conservation and accounting principles.

Problem 3  (25 points)

0.2 m3 of air is compressed rapidly in a piston-cylinder device from room conditions (P1 = 100 kPa,     T1 = 300 K) to 8 MPa and 1100 K.  The compression happens so fast that it can be modeled by an adiabatic process.

compression

- Determine the final volume of air, in cm3.

- Determine the work done on the air during the compression, in kJ.

- Determine the entropy generation during the compression, in J/K.

Clearly show all your work and logic for FULL credit!  Do NOT just substitute numbers into a special form of any conservation and accounting principles.