PH 404 Four experiments: (Instructions)	MJM			January 21, 2006

All experiments: record the temperature in the lab. From this, calculate the velocity of sound in air according to the formula c = 331.3 (T/273) m/s, where T is in kelvins.

1) Helmholtz resonator with several neck attachments.

Move the apparatus to the bench nearest the sink. Make sure the putty is sealing the small hole well.

The tie-clip mike should hang maybe 5-8 cm inside the resonator opening. The mike should be turned on with a little button, and the audio amplifier must also be turned on.

Don’t turn up the Pasco signal generator amplitude past the 8 o’clock or 9 o’clock position

The resonance with no attachments and no water added should be in the 140-160 Hz range

Record the resonant frequency based on the maximum reading on the scope.

Start with the resonator empty and measure resonant frequencies with 3 neck lengths, of which one could be zero attachment (but not zero length because there is a thickness to the resonator top.)

Add about 700 ml of water and repeat.

Be very careful not to dunk the tie-clip mike in the water!

Add another 700 or so ml of water and repeat

Turn off the apparatus (scope, signal generator, audio amp, mike switch)

Empty the water from the resonator.

The theoretical resonance frequency is f = ca/(2) sqrt(/[V(L + 16a/(3)])  Eq 9.18, p. 267

where a is hole radius, V the interior volume, and L the length of the exit tube.

Put all your results in a table of frequency vs neck length and volume of water added

Try to determine from your data Vempty the empty interior volume of the resonator without actually filling it with water.

2) Ultrasonic image source and interference

Start with the source touching the tabletop.

The sound waves will go directly to the detector

and also reach the detector by bouncing off the 					           detector

tabletop. Because the velocity at the tabletop in

the vertical direction must be zero, the effect of

the reflection is to have a second source in phase 	  source

with the first as far below the tabletop as the real

source is above it. This is like Lloyd’s mirror in

optics, except that the image source is in phase

and not out of phase.

Set the Pasco to around 40 kHz and tune for maximum detector signal. Then record the frequency and leave this frequency for the rest of the experiment.

Set a height of the detector 6 to 7 cm above the surface, and also set a height of the source above the surface, something like 5 to 7 cm off the benchtop. Measure heights to the middle of the source or detector. Position the detector about 40-50 cm from the source. Move the source toward the detector. You will see the signal increase rather steadily, with little up-and-down wiggles along the way. This increase makes sense since the detector and source are getting closer. (I have not figured out what causes the little wiggles. Someone could tackle this as a project.) You are looking to find one or more large minimum in this pattern - - - places where the direct wave and the reflected wave have strong destructive interference. Record the distances between source and detector where you find minima. Record the horizontal distance between source and detector, from the grill of one to the grill of the other. [The actual source positions may be further away that where the grill is. You'll have to see how this works out when you analyze the data.]

Change either the source or detector height so that  its distance from the tabletop is about double what it was the first time. Repeat the detector measurements for max’s and mins, recording the values. Then do a third trial in which one of the original heights is placed at about half its initial value, and record the locations of the min or mins you find.

The mins should occur where the path difference between the sources is a half-integer number of wavelengths. [The sound waves bouncing off the surface look like they are coming from a source as far below the benchtop as the source is above it. Both sources have to be in phase in order for the acoustic velocity component normal to the surface to be zero (unless it is a very soft benchtop!).

I set up a spreadsheet putting in the heights and the wavelength, and then made a plot of the path difference over wavelength. This shows where the mins should occur. You don't need to do this, you are free to calculate the positions of the mins any way you like.

Report the data from your experiment, and how the min positions compare to what was calculated. Estimate roughly the uncertainty in the min positions. Did the grill-grill distance work ok, or did you need to add some distance?

3) Q values of open-open tubes.

You will be measuring pvc pipes from 1" to 4", finding the Q of each near a frequency of 192 Hz. First measure the inside diameter and length of each tube. (The lengths are not all the same because there is an additional effective length of about 0.6 radii which must be added in.) Measure the resonant frequency and half-power points for four tubes which resonate near 191 Hz, something like 1”, 2”, 3” and 4” tubes. These will be fairly quick once you get the hang of it, so do two runs per tube, and have all participants do at least two measurements.

Turn on the audio amp and the tie-clip mike switch at the beginning and turn them off at the end.

There is a thermometer on the main lab bench (among all the rubble), which will give you room temperature.

Place the tie-clip mike in toward the middle of the tube, then adjust the frequency of the Pasco generator to find the values. Use the scale with 5 sig figs (like 192.34 Hz). The half-power points are when the response amplitude is 0.707 of the max amplitude. (I usually set the max amplitude to 8 divisions, then shoot for the half power points at 5.6 divisions.)

For one tube, obtain a resonance curve for that tube and later fit the data to a lorentzian curve (see A( ) below) to find the damping and thus be able to calculate Q.  A simple way to get 7 data points is to set the max signal at resonance equal to 8 divisions (4 on either side of center) using the scope gain.  Then change the frequency till the signal takes up exactly 6 vertical divisions, then exactly 4 vertical divisions, then exactly 2 vertical divisions (1 to either side of center). This is a total of 7 frequencies: one at the max (8 divs), and 2 freqs at 6, 4 and 2 divisions.]

The curve for fitting amplitude vs. frequency is

A() = Ao/sqrt((2 -o2)2 + (2)2)

You would like to adjust Ao and o and  in fitting the data. From  one finds Q = /(2)

Report the Q for each tube. For the half-power method, you should have a couple of values, so you  could report the average and standard deviation of these.

The relative losses due to sound radiated out the ends increase as the square of the tube diameter. There are also losses due to viscosity in a boundary layer within about 1/5 mm (at this frequency) of the wall. These losses (relative to the average energy stored in the tube) decrease with tube diameter. Tube Q vs tube diameter should then look like

1/Q = a D2 + b/D ,

where the coefficient a has do do with sound radiated out the ends, and b has to do with viscous losses near the wall.

I don't insist that you check this out, but you are welcome to.

4) Fresnel zone plate

Keep the source and detector at the same height, lined up. The zone plate needs to be centered along the line of the source and detector, and moved along the table by its ringstand, guided by contact with a 2-m stick. Set the Pasco frequency to around 40 kHz and adjust it till you get the maximum signal from the detector.

Set the distance from source to zone plate at around 12 cm from the front of the source (you'll have to see if the calculations work out best to take the position of the source at the front of the grill or back a few mm). After recording this distance, start the detector around 40 cm from the zone plate and move it toward the source. Try to find the position of the maximum response. Use the 2-m stick as a guide for the detector. You want to keep the zone plate centered between the source and detector, but this is hard to do, so you should do a little lateral exploring to see if moving the detector sideways gives a larger signal.  When you have the position of maximum signal, record the position and also the signal voltage amplitude on the scope. Then remove the zone plate to see what signal there is from the source without any 'gain', and record the voltage amplitude of this signal. Estimate the uncertainty in the detector position.

Then repeat for a source to zone plate distance of 16 cm, and then again for 20 cm. Record the temperature of the room from a wall thermometer, and calculate the velocity of sound in air at this temperature from the formula v = 331.3 m/s (T/273), where T is in kelvins. From the speed and frequency you can calculate the wavelength of the waves.

Then measure the smallest two diameters on the plate (for zones 1 and 2) and from these calculate a focal length of the zone plate.

Make a table of results for the zone plate focal length from its dimensions and from the three runs you did at different distances, 'focusing' the waves from the source. In this table, also put down the 'gain' in signal due to the zone plate at each of the three different distances.