Homework 1

ECE 207 – Electrical Engineering

Due: 9/6/2012

- For the circuit shown, use the node-voltage method to find v1 and v2.

- For the circuit shown, use the node-voltage method to find ia, ib, and ic.

- The sinusoidal current source in the circuit shown produces a current of:

is = 8 cos 200,000t  A

- Construct the phasor domain circuit.

- Find the time domain expressions for v, i1, i2, and i3.

- An electrical load is connected to a 240 V source. The load absorbs a power of 8 kW at 0.8

leading power factor. Ignoring the line impedance, calculate:

- Reactive power Q

- Complex power S

- Apparent power S

- Draw the power triangle

- A 200 kVA load is operating at a of 0.6 lagging power factor. This load is connected to the

source via a line with the impedance of Zline = 4 + j24 Ω. The voltage across the load is 6400

V. Calculate:

  - Source voltage Vs

  - Percent voltage regulation

  - Efficiency of the transmission system